## Submittal Form
Ref. # : AMD/ PNP&D/ PNPS/ …………
Date of Issue:
SINGLE LINE/ SCHEMATIC DRAWINGS APPROVAL FORM
Asset Management Directorate
Power Planning and Development Department
Power Network Performance Section
Project Name: |  |  |  | SLD Drawing No. :
Contract No. : |  |  |  | Revision :
Contractor : |  |  |  | Consultant
Supply Arrangement Request No. : |  |  |  | Concernd contact person information in UAE: |  | E-mail Address:
Project Start Date: | [5 empty] | Tel:
Project Finish Date: | [5 empty] | Fax:
Attachments & Checklist (shall be in a Folder splited with separators) :
1 | Copy of Approved Supply Arrangement Request attached |  |  | Yes. | No.
2 | Battery Limit between Customer & AADC clearly shown |  |  | Yes. | No.
3 | H.V. Swgr. as per ADWEA standard specification / rating and vendor list |  |  | Yes. | No.
4 | Main / Incoming Source clearly shown on SLD |  |  | Yes. | No.
5 | Cable Sizes & Busbar Ratings mentioned on the SLD |  |  | Yes. | No.
6 | Circuit Breakers data as per ADWEA specs. & vendor list shown on the SLD |  |  | Yes. | No. | Consultant's Stamp, Signature & Date
7 | Relays data as per ADWEA specs. & vendor list mentioned on the SLD |  |  | Yes. | No.
8 | Metering data as per ADWEA specs. & vendor list mentioned on the SLD |  |  | Yes. | No.
9 | CT / VT data as per ADWEA specs. & vendor list mentioned on the SLD |  |  | Yes. | No.
10 | CT / VT calculations attached |  |  | Yes. | No.
11 | Interlocking Logic / Interlocking Matrix shown on SLD |  |  | Yes. | No.
12 | Energy Meters shown on the outgoing feeders with necessary details |  |  | Yes. | No.
13 | DMS Details/ Wiring Schematic attached (if applicable) |  |  | Yes. | No.
14 | DC System Schematic Drawing attached & Voltage level shown on SLD |  |  | Yes. | No. | Contractor's Stamp, Signature & Date
15 | Other Details/Notes (if any) |  |  | Yes. | No.
For Use of AADC :
Encl. Drawings Nos. ……………………………………………………………………………………………………………………………..
Status : |  | Approved | Approved with Comments |  | Not Approved
COMMENTS:
NOTE: After approval of SLD / Schematic drawings, Material Submittal shall be submitted to AADC for approval prior to procurement of material by customer.
|  | Engineer | Head of Section | Department Manager |  | AADC Stamp
Signatures & Date
Note:- | The above Comments and/or approvals do not relieve the Contractor from his obligation under the Contract to ensure conformance to the specification. Any specification deviations found subsequent to approval shall be corrected by the CONTRACTOR to the satisfaction of AADC Engineer.