Electrical Installation Certificate

| Project /Building Name : |  | Certificate No./ Ref : |
| --- | --- | --- |
| Address / Location: |  |  |
| Details of Client / Customer : |  |
| Electricity account no./contact details: |  |
| New or modified installation: | New: |  | Modification: |  | Existing: |  |
| Brief description of work carried out : |  |
|  | Previous Certificate number |  |
| Supply Characteristics: |
| Earthing System (TT,TN-S,TN-S-TT): |  | Earth Electrode(s )Resistance: |  |
| Incoming Cable Size & Type: |  | Earth Electrode(s) Location : |  |
| Main CB type & rating: |  | Main Earth Conductor Size: |  |
| Protective System (ELPS, EEBS): |  | Earth Fault Loop Impedance: |  |
| Max Prospective Fault Current: |  |
| Total Connected Load: |  | Total Diversified Load: |  |
| Meter ref. no’s and type: |  |
| Details of Designer: |  |
| Contact Details : |  |
| We hereby declare that the work completed by us in relation to the above named installation, and detailed in the reference drawings and documents listed below, has been carried out with due skill and care, and in accordance with the Electricity Wiring Regulations 2007 published by the Regulation & Supervision Bureau for the Water, Wastewater and Electricity Sector in Abu Dhabi: |
| Authorized signature & name : |  | Date: |  |
| Reference drawings and schedules: |  | Company Stamp: |

| Details of Installer : |  | Reference drawings and schedules: |  |
| --- | --- | --- | --- |
| Contact Details: |  | Company Licence Number: |  |
| We hereby declare that the inspection and testing completed by us in relation to the above named installation, and detailed over leaf, has been carried out with due skill and care, and in accordance with the Electricity Wiring Regulations 2007 published by the Regulation & Supervision Bureau for the Water, Wastewater and Electricity Sector in Abu Dhabi: |
| Authorized signature & name : |  | Date: |
| Engineer’s Registration Certificate No: | Certificate Expiry Date: | Company Stamp: |