Inspection Report

| Project /Building Name : |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  | Report No : |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Address / Location: |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Details of Client / Customer : |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Electricity account no./contact details: |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| New or modified installation: |  |  |  |  |  |  |  | New: |  |  |  |  |  |  | Modification: |  |  |  |  |  |  | Existing: |  |  |  |
| Reason for Inspection (first inspection, routine inspection, other): |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Installation Certificate number |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Supply Characteristics: |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Earthing System (TT,TN-S,TN-S-TT): |  |  |  |  |  |  |  |  |  |  |  |  |  |  | Earth Electrode(s )Resistance: |  |  |  |  |  |  |  |  |  |  |
| Incoming Cable Size & Type: |  |  |  |  |  |  |  |  |  |  |  |  |  |  | Earth Electrode(s) Location : |  |  |  |  |  |  |  |  |  |  |
| Main CB type & rating: |  |  |  |  |  |  |  |  |  |  |  |  |  |  | Main Earth Conductor Size: |  |  |  |  |  |  |  |  |  |  |
| Protective System (ELPS, EEBS): |  |  |  |  |  |  |  |  |  |  |  |  |  |  | Earth Fault Loop Impedance: |  |  |  |  |  |  |  |  |  |  |
| Max Prospective Fault Current: |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Total Connected Load: |  |  |  |  |  |  |  |  |  |  |  |  |  |  | Total Diversified Load: |  |  |  |  |  |  |  |  |  |  |
| Meter ref. no’s and type: |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| General Details of Inspection & Testing: |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Date of last inspection & test: |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Any modifications noted: |  |  |  |  | No |  |  |  | Yes |  |  |  |  | Details: |  |  |  |  |  |  |  |  |  |  |  |
| Estimated age of installation & estimated age of modifications: |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Date of next planned inspection: |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Any dangerous conditions or urgent work required (give details over leaf): |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  | No |  |  |  |  | Yes |  |  |
| Any work or improvements recommended (give details over leaf): |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  | No |  |  |  |  | Yes |  |  |
| Extent of inspection: | All: |  |  |  |  | Part: |  |  |  | Areas not tested / inspected: |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Inspection carried out by: |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  | Reference drawings and schedules: |  |  |  |  |  |  |  |  |  |
| Contact Details: |  |  |  |  |  |  |  |  |  |  |  |  | Company Licence Number: |  |  |  |  |  |  |  |  |  |  |  |  |
| We hereby declare that the inspection and testing completed by us in relation to the above named installation, and detailed over leaf, has been carried out with due skill and care, and in accordance with the Electricity Wiring Regulations 2007 published by the Regulation & Supervision Bureau for the Water, Wastewater and Electricity Sector in Abu Dhabi: |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Authorized signature & name : |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  | Date: |  |  |  |  |
| Engineer’s Registration Certificate No: |  |  |  |  |  |  | Certificate Expiry Date: |  |  |  |  |  |  |  |  |  |  |  |  |  | Company Stamp: |  |  |  |  |

Inspection Report

| Equipment Inspected: satisfactory not satisfactory (give details /comments) not applicable urgent work required |  |  |  |
| --- | --- | --- | --- |
| Main intake room condition: |  |  |  |
| Metering Equipment: |  |  |  |
| Main Distribution Board: |  |  |  |
| Main Isolation Device (CB): |  |  |  |
| Main LV switchboard (if any): |  |  |  |
| Incoming supply cable(s): |  |  |  |
| Main earth conductor, earth pits, and MET; |  |  |  |
| Sub Distribution Boards (give ref. no’s): |  |  |  |
| Distribution Cables (between DBs): |  |  |  |
| Main Earth Leakage Protective Device(s): |  |  |  |
| Circuit cables (where visible): |  |  |  |
| Power factor correction equipment: |  |  |  |
| Standby generation equipment: |  |  |  |
| Power points & socket outlets: |  |  |  |
| Internal Inspection of sample points (10% sample): |  |  |  |
| List circuits/connections inspected |  |  |  |